## Sheet1 (hidden)
Slot view reporting
|  | Bare Metal |  |  |  | Sellable | Reclaim | Gen1
Gen2
|  | Macwait | Liquidate_Prep | Manual_Bios |  | Power Limit
|  | Firmware_Wait | Liquidation | Missing_Parts
|  | Capacity_Limitation | Liquidation_Damaged | Hardfail
|  | Inventory |  | Planned
Reserved
Available Classic Slots
Datacenter | Server Room | Sellable | Liquidation | Distressed | Total | Available NG Slots | Classic Reclaim Possibility | Gen1 Reclaim Possibility | Recommended Action | Action Trigger Date | Column | Desciption
AMS01 | 1 | =SUMPRODUCT(SUMIFS('C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$N:$N,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$C:$C,$B14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$D:$D,$C14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$I:$I,$D$4:$D$7)) | =SUMPRODUCT(SUMIFS('C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$N:$N,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$C:$C,$B14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$D:$D,$C14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$I:$I,$E$4:$E$6)) | =SUMPRODUCT(SUMIFS('C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$N:$N,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$C:$C,$B14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$D:$D,$C14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$I:$I,$F$4:$F$8)) | =SUM(D14:F14) | =SUMIFS(#REF!,#REF!,$B14,#REF!,$C14,#REF!,$H$2,#REF!,$H$3,#REF!,"<>"&$H$4) | =SUMPRODUCT(SUMIFS('C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$N:$N,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$C:$C,$B14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$D:$D,$C14,'C:\Users\VINCENTLAM\Box\IBM Cloud Capacity\[Capacity Summary Report - MASTER.xlsm]oracle_data'!$I:$I,$I$2)) | =SUMIFS(#REF!,#REF!,$B14,#REF!,$C14,#REF!,$J$2) |  |  | Sellable | Slots with devices in sellable statuses | Should this be calculated for only BM and add empty slots as well?
AMS03 | 1 | [9 empty] | Liquidation | Slots with devices in liquidation statuses
AMS03 | 2 | [9 empty] | Distressed | Slots with devices in non-sellable statuses
AMS03 | 3 | [9 empty] | Available NG Slots | Empty + Inventory + Other slots in Gen2 racks that are not Power Limit
CHE01 | 1 | [9 empty] | Classic Reclaim Possibility | Slots with devices in reclaim status
DAL05 | 1 | [9 empty] | Gen1 Reclaim Possibility | Slots with devices in Gen1 racks
DAL05 | 3
DAL06 | 2
DAL06 | 3
DAL08 | 1
DAL09 | 1
DAL09 | 2
DAL09 | 3
DAL09 | 4
DAL09 | 5
DAL09 | 6
DAL09 | 7
DAL09 | 8
DAL09 | 9
DAL10 | 1
DAL10 | 2
DAL10 | 3
DAL10 | 4
DAL12 | 1
DAL12 | 2
DAL13 | 1
DAL13 | 2
DAL13 | 3
FRA02 | 1
FRA02 | 2
FRA02 | 3
FRA02 | 4
FRA02 | 5
FRA02 | 6
FRA04 | 1
FRA04 | 2
FRA04 | 3
FRA05 | 1
FRA05 | 2
HKG02 | 1
HKG02 | 2
LON02 | 1
LON02 | 2
LON02 | 3
LON02 | 4
LON04 | 1
LON04 | 2
LON04 | 3
LON04 | 4
LON04 | 5
LON04 | 6
LON05 | 1
LON05 | 2
LON06 | 1
LON06 | 2
LON06 | 3
MEX01 | 2
MEX01 | 3
MIL01 | 1
MIL01 | 2
MIL01 | 3
MON01 | 1
MON01 | 2
OSA21 | 1
OSA22 | 2
OSA23 | 1
PAR01 | 1
PAR01 | 2
PAR04 | 1
PAR05 | 1
PAR06 | 1
SAO01 | 1
SAO01 | 2
SAO04 | 1
SAO05 | 1
SEO01 | 1
SJC01 | 1
SJC01 | 2
SJC01 | 3
SJC03 | 1
SJC04 | 1
SNG01 | 1
SNG01 | 2
SNG01 | 3
SNG01 | 4
SYD01 | 1
SYD01 | 2
SYD01 | 3
SYD01 | 4
SYD04 | 1
SYD04 | 2
SYD05 | 1
TOK02 | 1
TOK02 | 2
TOK02 | 3
TOK02 | 4
TOK02 | 5
TOK04 | 1
TOK04 | 2
TOK05 | 1
TOK05 | 2
TOR01 | 1
TOR01 | 2
TOR01 | 3
TOR04 | 1
TOR05 | 1
WDC01 | 2
WDC01 | 3
WDC03 | 1
WDC04 | 1
WDC04 | 2
WDC04 | 3
WDC04 | 4
WDC04 | 5
WDC04 | 6
WDC04 | 7
WDC06 | 1
WDC06 | 2
WDC07 | 1
WDC07 | 2

## summary
Capacity Availability and Utilization Analysis
Data as of 06/30/2025
This page is for users who have the latest version of excel.
DAL10
Utilized kW for these sections are based on averages and estimations.
|  |  | Bare Metal |  |  |  | Compute |  |  |  | Gen1 |  |  |  | Gen2 |  |  |  | NGDC |  |  |  | PowerVS |  |  |  | Storage |  |  |  | Fabric |  |  |  | Network |  |  |  | Unallocated
Server Room | Current Reading | Max Available | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count
1 | 1959 | 4000 | 23 | 1664.5 | 730 | 43.86% | 5 | 320 | 94 | 29.38% | 0 | 0 | 0 | 0% | 10 | 1178 | 920 | 78.1% | 1 | 56 | 0 | 0% | 0 | 0 | 0 | 0% | 10 | 634 | 171 | 26.97% | 2 | 59.5 | 48 | 80.67% | 6 | 381.6 | 167 | 43.76% | 0
2 | 2136 | 4000 | 27 | 1823.5 | 811 | 44.47% | 5 | 498.5 | 245 | 49.15% | 0 | 0 | 0 | 0% | 13 | 1345 | 950 | 70.63% | 0 | 0 | 0 | 0% | 3 | 389.4 | 153 | 39.29% | 3 | 177 | 41 | 23.16% | 1 | 52.5 | 31 | 59.05% | 2 | 330.7 | 154 | 46.57% | 2
3 | 977 | 2000 | 2 | 120 | 16 | 13.33% | 0 | 0 | 0 | 0% | 7 | 250 | 170 | 68% | 7 | 1491 | 1476 | 98.99% | 3 | 436 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 122.5 | 29 | 23.67% | 0 | 0 | 0 | 0% | 0 | 10 | 7 | 70% | 2
4 | 452.1041 | 1200 | 6 | 504 | 197 | 39.09% | 3 | 316 | 159 | 50.32% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 27.6 | 3 | 10.87% | 0 | 98.9 | 48 | 48.53% | 0
5 | 320 | 850 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 3 | 730 | 710 | 97.26% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 3
6 | 450 | 1000 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 260 | 260 | 100% | 3 | 608 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 0 | 0 | 0% | 0
Total | [5 empty] | Data Prep
Server Room | Row Count | Allocated kW | Utilized kW | % Utilized |  | Utilized | Remaining | Empty | Graph Title
1 | 57 | 4293.6 | 2130 | 49.61% |  | 49.61% | 50.39% | 1 | Server Room 1
2 | 56 | 4616.6 | 2385 | 51.66% |  | 51.66% | 48.34% | 1 | Server Room 2
3 | 22 | 2429.5 | 1698 | 69.89% |  | 69.89% | 30.11% | 1 | Server Room 3
4 | 10 | 946.5 | 407 | 43% |  | 43% | 57% | 1 | Server Room 4
5 | 6 | 730 | 710 | 97.26% |  | 97.26% | 2.74% | 1 | Server Room 5
6 | 5 | 868 | 260 | 29.95% |  | 29.95% | 70.05% | 1 | Server Room 6
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## summary (leagacy)
Capacity Availability and Utilization Analysis
Data as of 06/30/2025
This page is for users who do not have the latest version of excel.
DAL10
Utilized kW for these sections are based on averages and estimations.
|  |  | Bare Metal |  |  |  | Compute |  |  |  | Gen1 |  |  |  | Gen2 |  |  |  | NGDC |  |  |  | PowerVS |  |  |  | Storage |  |  |  | Fabric |  |  |  | Network |  |  |  | Unallocated
Server Room | Current Reading | Max Available | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count | Allocated kW | Utilized kW | % Utilized | Row Count
1 | 1959 | 4000 | 23 | 1664.5 | 730 | 43.86% | 5 | 320 | 94 | 29.38% | 0 | 0 | 0 | 0% | 10 | 1178 | 920 | 78.1% | 1 | 56 | 0 | 0% | 0 | 0 | 0 | 0% | 10 | 634 | 171 | 26.97% | 2 | 59.5 | 48 | 80.67% | 6 | 381.6 | 167 | 43.76% | 0
2 | 2136 | 4000 | 27 | 1823.5 | 811 | 44.47% | 5 | 498.5 | 245 | 49.15% | 0 | 0 | 0 | 0% | 13 | 1345 | 950 | 70.63% | 0 | 0 | 0 | 0% | 3 | 389.4 | 153 | 39.29% | 3 | 177 | 41 | 23.16% | 1 | 52.5 | 31 | 59.05% | 2 | 330.7 | 154 | 46.57% | 2
3 | 977 | 2000 | 2 | 120 | 16 | 13.33% | 0 | 0 | 0 | 0% | 7 | 250 | 170 | 68% | 7 | 1491 | 1476 | 98.99% | 3 | 436 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 122.5 | 29 | 23.67% | 0 | 0 | 0 | 0% | 0 | 10 | 7 | 70% | 2
4 | 452.1041 | 1200 | 6 | 504 | 197 | 39.09% | 3 | 316 | 159 | 50.32% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 27.6 | 3 | 10.87% | 0 | 98.9 | 48 | 48.53% | 0
5 | 320 | 850 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 3 | 730 | 710 | 97.26% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 3
6 | 450 | 1000 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 260 | 260 | 100% | 3 | 608 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0% | 1 | 0 | 0 | 0% | 0
Total | [5 empty] | Data Prep
Server Room | Row Count | Allocated kW | Utilized kW | % Utilized |  | Utilized | Remaining | Empty | Graph Title
1 | 57 | 4293.6 | 2130 | 49.61% |  | 49.61% | 50.39% | 1 | Server Room 1
2 | 56 | 4616.6 | 2385 | 51.66% |  | 51.66% | 48.34% | 1 | Server Room 2
3 | 22 | 2429.5 | 1698 | 69.89% |  | 69.89% | 30.11% | 1 | Server Room 3
4 | 10 | 946.5 | 407 | 43% |  | 43% | 57% | 1 | Server Room 4
5 | 6 | 730 | 710 | 97.26% |  | 97.26% | 2.74% | 1 | Server Room 5
6 | 5 | 868 | 260 | 29.95% |  | 29.95% | 70.05% | 1 | Server Room 6
[7 empty] | #VALUE! | #VALUE!
[7 empty] | #VALUE! | #VALUE!
[7 empty] | #VALUE! | #VALUE!
|  | 4293.6 | 2130
|  | 4616.6 | 2385
|  | 2429.5 | 1698
|  | 946.5 | 407
|  | 730 | 710
|  | 868 | 260
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## product_view
Capacity Availability and Utilization Analysis
Data as of 06/30/2025
Bare Metal
DC | Current Reading | Max Available | Row Count | Allocated kW | Utilized kW | % Utilized
AMS03 | 1401.74 | 4200 | 28 | 1636 | 521 | 31.85%
CHE01 | 683 | 2800 | 11 | 666 | 366 | 54.95%
CHE02 | 0 | 0 | 0 | 0 | 0 | 0%
DAL08 | 818 | 2250 | 5 | 245 | 0 | 0%
DAL09 | 2333.487 | 9525 | 101 | 4554 | 637 | 13.99%
DAL10 | 6294.1041 | 13050 | 58 | 4112 | 1753 | 42.63%
DAL12 | 3860 | 8600 | 27 | 1756 | 1224 | 69.7%
DAL13 | 5094.57 | 9000 | 38 | 2643.5 | 1744 | 65.97%
DAL14 | 598.5 | 2200 | 2 | 156 | 78 | 50%
FRA02 | 2795.6 | 6260 | 36 | 2058 | 816 | 39.65%
FRA04 | 1989 | 4200 | 9 | 618 | 401 | 64.89%
FRA05 | 1767 | 4800 | 8 | 534 | 380 | 71.16%
LON02 | 928 | 2640 | 16 | 602 | 209 | 34.72%
LON04 | 1186 | 4000 | 14 | 815 | 327 | 40.12%
LON05 | 710 | 3000 | 4 | 234 | 110 | 47.01%
LON06 | 852 | 3000 | 10 | 726 | 374 | 51.52%
MAD02 | 575 | 1500 | 1 | 120 | 44 | 36.67%
MAD04 | 504 | 1500 | 1 | 120 | 27 | 22.5%
MAD05 | 441 | 1500 | 1 | 120 | 31 | 25.83%
MIL01 | 364 | 1050 | 3 | 195 | 37 | 18.97%
MON01 | 434 | 1800 | 9 | 498 | 166 | 33.33%
MON04 | 395 | 1500 | 0 | 0 | 0 | 0%
MUM02 | 0 | 0 | 0 | 0 | 0 | 0%
MUM03 | 0 | 0 | 0 | 0 | 0 | 0%
OSA21 | 401 | 1000 | 2 | 102 | 76 | 74.51%
OSA22 | 340 | 1000 | 2 | 102 | 39 | 38.24%
OSA23 | 347 | 1000 | 2 | 102 | 40 | 39.22%
PAR01 | 606 | 1220 | 11 | 595 | 195 | 32.77%
PAR04 | 948 | 2200 | 3 | 294 | 154 | 52.38%
PAR05 | 912 | 1100 | 3 | 174 | 179 | 102.9%
PAR06 | 808 | 1125 | 2 | 114 | 130 | 114%
SAO01 | 1104.23 | 2800 | 14 | 869 | 433 | 49.83%
SAO04 | 649.8186 | 1400 | 5 | 285 | 96 | 33.68%
SAO05 | 456.7 | 1400 | 5 | 324 | 77 | 23.77%
SJC03 | 962 | 2400 | 23 | 1338 | 379 | 28.33%
SJC04 | 833.571 | 3430 | 9 | 540 | 569 | 105.4%
SNG01 | 764 | 2880 | 31 | 1505 | 238 | 15.81%
SYD01 | 869 | 2800 | 14 | 804 | 168 | 20.9%
SYD04 | 850 | 2200 | 10 | 624 | 226 | 36.22%
SYD05 | 605 | 2000 | 6 | 390 | 101 | 25.9%
TOK02 | 1825 | 4700 | 30 | 1759 | 577 | 32.8%
TOK04 | 957 | 3000 | 4 | 354 | 225 | 63.56%
TOK05 | 859 | 3000 | 7 | 516 | 190 | 36.82%
TOR01 | 1286 | 4050 | 33 | 1733.4 | 376 | 21.69%
TOR04 | 1102.0682 | 3000 | 4 | 270 | 85 | 31.48%
TOR05 | 1098.274 | 3000 | 3 | 270 | 98 | 36.3%
WDC01 | 0 | 0 | 23 | 0 | 0 | 0%
WDC03 | 321 | 1200 | 8 | 340 | 0 | 0%
WDC04 | 5283.0734 | 9900 | 69 | 4314 | 1578 | 36.58%
WDC06 | 3257.22 | 6000 | 14 | 883 | 513 | 58.1%
WDC07 | 4623.2239 | 9500 | 22 | 1376 | 880 | 63.95%
This shape represents a slicer. Slicers are supported in Excel 2010 or later. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2003 or earlier, the slicer cannot be used.

## region_view
Capacity Availability and Utilization Analysis
Data as of 06/30/2025
|  | Values in Megawatts | [6 empty] | Power Utilization Percentage by Offering | [21 empty] | Allocated kW by Offering | [9 empty] | Utilized kW by Offering | [10 empty] | Values in Megawatts
Geography | Region Type | Current Reading | Max Available | Utilization | Row Count | Allocated MW | Utilized MW | % Utilized | Bare Metal | Colo | Compute | Fabric | Gen1 | Gen2 | Network | NGDC | PowerVS | Storage | Least Utilized | Most Utilized | DC | Geography | Region | Region Type | Current Reading | Max Available | Row Count | Allocated kW | Utilized kW | % Utilized | Bare Metal | Colo | Compute | Fabric | Gen1 | Gen2 | Network | NGDC | PowerVS | Storage | Bare Metal | Colo | Compute | Fabric | Gen1 | Gen2 | Network | NGDC | PowerVS | Storage | By Offering | Bare Metal | Colo | Compute | Fabric | Gen1 | Gen2 | Network | NGDC | PowerVS | Storage | Unallocated | Unutilized
APAC | MZR | 7.053 | 20.7 | 34.07% | 276 | 18.816 | 8.282 | 44.02% | 34.55% | - | 35.73% | 53.88% | - | 89.08% | 37.55% | 0% | 19.18% | 25.69% | 0% | 89.08% | AMS03 | EMEA | SZR | SZR | 1401.74 | 4200 | 57 | 2888.6 | 996 | 34.48% | 1636 | 0 | 393 | 32.2 | 0 | 0 | 314.4 | 0 | 0 | 513 | 521 | 0 | 170 | 20 | 0 | 0 | 163 | 0 | 0 | 123 | Allocated | 42.3859 | 0.3344 | 11.8845 | 3.0768 | 1.915 | 50.2341 | 13.7704 | 5.2862 | 5.8408 | 16.2542 | 14.6977 | -
| SZR | 1.447 | 5.68 | 25.48% | 64 | 3.7781 | 1.173 | 31.05% | 27.82% | - | 34.83% | 54.35% | - | - | 35.69% | - | 52.39% | 29% | 27.82% | 54.35% | CHE01 | APAC | SZR | SZR | 683 | 2800 | 23 | 1529.9 | 676 | 44.19% | 666 | 0 | 150 | 46 | 0 | 0 | 268.1 | 0 | 129.8 | 270 | 366 | 0 | 65 | 26 | 0 | 0 | 84 | 0 | 68 | 70 | Utilized | 15.8626 | -1.0044 | 3.7536 | 0.64462 | 0.27062 | 39.2606 | 4.5966 | -1.0044 | 0.69762 | 3.0976 | - | 87.9048
EMEA | MZR | 13.4876 | 34.185 | 39.45% | 360 | 28.0822 | 17.243 | 61.4% | 50.16% | - | 57.59% | 63.12% | 100% | 86.54% | 46.71% | - | 18.14% | 22.8% | 18.14% | 100% | CHE02 | APAC | CHE MZR | MZR | 0 | 0 | 12 | 1172.8 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 1088.2 | 82.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SZR | 3.2997 | 9.11 | 36.22% | 141 | 6.7646 | 2.151 | 31.8% | 31.77% | - | 27.88% | 61.87% | - | - | 41.5% | - | - | 25.68% | 25.68% | 61.87% | DAL08 | NASA | SZR | SZR | 818 | 2250 | 21 | 1351.3 | 203 | 15.02% | 245 | 290.4 | 50 | 174.8 | 0 | 0 | 241.1 | 0 | 0 | 350 | 0 | 0 | 0 | 39 | 0 | 0 | 72 | 0 | 0 | 93 | Aggregated Offering | Classic | NG | Internal | Unallocated | Unutilized
NASA | MZR | 35.1028 | 75.4 | 46.56% | 859 | 77.1173 | 42.953 | 55.7% | 47.05% | 0% | 44.43% | 53.86% | 64.04% | 76.95% | 43.33% | 0% | 34.77% | 25.68% | 0% | 76.95% | DAL09 | NASA | SZR | SZR | 2333.487 | 9525 | 175 | 8822.2 | 2058 | 23.33% | 4554 | 0 | 695 | 497.6 | 0 | 375 | 1775.6 | 28 | 0 | 897 | 637 | 0 | 84 | 292 | 0 | 240 | 593 | 0 | 0 | 215 | Allocated | 76.3654 | 57.4353 | 16.8472 | 15.0321 | -
| SZR | 5.7021 | 20.605 | 27.67% | 355 | 16.4241 | 4.334 | 26.39% | 23.3% | 0% | 15.91% | 48.17% | - | 49.28% | 34.5% | 0% | 0% | 26.63% | 0% | 49.28% | DAL10 | NASA | DAL MZR | MZR | 6294.1041 | 13050 | 156 | 13884.2 | 7581 | 54.6% | 4112 | 0 | 1134.5 | 139.6 | 250 | 5004 | 821.2 | 1100 | 389.4 | 933.5 | 1753 | 0 | 497 | 81 | 170 | 4316 | 372 | 0 | 153 | 240 | Utilized | 23.4115 | 38.5269 | 5.2412 | - | 83.8028
Global | MZR | 55.6434 | 130.285 | 42.71% | 1495 | 124.0155 | 68.478 | 55.22% | 45.67% | 0% | 45.68% | 55.7% | 66.58% | 80.46% | 42.93% | 0% | 29.97% | 24.74% | 0% | 80.46% | DAL12 | NASA | DAL MZR | MZR | 3860 | 8600 | 83 | 8266.1 | 5421 | 65.58% | 1756 | 0 | 875.5 | 165 | 80 | 3637 | 356 | 307 | 495.6 | 594 | 1224 | 0 | 551 | 84 | 80 | 2905 | 174 | 0 | 245 | 160
| SZR | 10.4488 | 35.395 | 29.52% | 560 | 26.9668 | 7.658 | 28.4% | 26.09% | 0% | 21.69% | 50.01% | - | 49.28% | 36.27% | 0% | 17.46% | 26.55% | 0% | 50.01% | DAL13 | NASA | DAL MZR | MZR | 5094.57 | 9000 | 104 | 8720.1 | 5273 | 60.47% | 2643.5 | 7 | 802.5 | 83.9 | 700 | 2663 | 565.7 | 331 | 330.4 | 593.1 | 1744 | 0 | 394 | 48 | 580 | 2029 | 237 | 0 | 68 | 175
Global Total |  | 66.0922 | 165.68 | 39.89% | 2055 | 150.9823 | 66.0922 | 43.77% | 39.79% | 0% | 40.04% | 53.59% | 66.58% | 80.15% | 40.67% | 0% | 29.14% | 25.24% | 0% | 80.15% | DAL14 | NASA | DAL MZR | MZR | 598.5 | 2200 | 14 | 1865.8 | 1242 | 66.57% | 156 | 0 | 0 | 55.6 | 0 | 1094 | 120 | 0 | 284.2 | 156 | 78 | 0 | 0 | 34 | 0 | 934 | 44 | 0 | 117 | 37
[21 empty] | FRA02 | EMEA | FRA MZR | MZR | 2795.6 | 6260 | 89 | 5615.9 | 3149 | 56.07% | 2058 | 0 | 285 | 36.8 | 0 | 1877 | 569.1 | 0 | 0 | 790 | 816 | 0 | 136 | 23 | 0 | 1755 | 246 | 0 | 0 | 175
[21 empty] | FRA04 | EMEA | FRA MZR | MZR | 1989 | 4200 | 38 | 4006.3 | 2542 | 63.45% | 618 | 0 | 306 | 41.4 | 0 | 2205 | 207.3 | 0 | 200.6 | 428 | 401 | 0 | 192 | 26 | 0 | 1705 | 100 | 0 | 37 | 83
[21 empty] | FRA05 | EMEA | FRA MZR | MZR | 1767 | 4800 | 42 | 3567.9 | 2448 | 68.61% | 534 | 0 | 450 | 41.4 | 0 | 1633 | 211.1 | 0 | 210.4 | 488 | 380 | 0 | 252 | 26 | 0 | 1585 | 106 | 0 | 0 | 102
[21 empty] | LON02 | EMEA | SZR | SZR | 928 | 2640 | 47 | 1909.1 | 550 | 28.81% | 602 | 0 | 205 | 27.6 | 0 | 0 | 441.5 | 0 | 0 | 633 | 209 | 0 | 43 | 17 | 0 | 0 | 135 | 0 | 0 | 146
[21 empty] | LON04 | EMEA | LON MZR | MZR | 1186 | 4000 | 46 | 2556 | 1477 | 57.79% | 815 | 0 | 220 | 32.2 | 45 | 725 | 211 | 0 | 129.8 | 378 | 327 | 0 | 143 | 20 | 45 | 725 | 127 | 0 | 0 | 91
[21 empty] | LON05 | EMEA | LON MZR | MZR | 710 | 3000 | 25 | 1846.9 | 1118 | 60.53% | 234 | 0 | 290 | 41.4 | 45 | 895 | 197.5 | 0 | 0 | 144 | 110 | 0 | 125 | 26 | 45 | 685 | 89 | 0 | 0 | 39
[21 empty] | LON06 | EMEA | LON MZR | MZR | 852 | 3000 | 36 | 2627.4 | 1388 | 52.83% | 726 | 0 | 198 | 41.4 | 45 | 745 | 220.4 | 0 | 259.6 | 392 | 374 | 0 | 27 | 26 | 45 | 725 | 105 | 0 | 0 | 89
[21 empty] | MAD02 | EMEA | MAD MZR | MZR | 575 | 1500 | 10 | 1171 | 699 | 59.69% | 120 | 0 | 40 | 23 | 0 | 465 | 131.2 | 0 | 175.8 | 216 | 44 | 0 | 24 | 14 | 0 | 425 | 55 | 0 | 92 | 47
[21 empty] | MAD04 | EMEA | MAD MZR | MZR | 504 | 1500 | 10 | 1151 | 702 | 60.99% | 120 | 0 | 40 | 23 | 0 | 445 | 143.2 | 0 | 175.8 | 204 | 27 | 0 | 34 | 14 | 0 | 445 | 61 | 0 | 80 | 43
[21 empty] | MAD05 | EMEA | MAD MZR | MZR | 441 | 1500 | 10 | 1169.6 | 699 | 59.76% | 120 | 0 | 40 | 41.4 | 0 | 565 | 131.2 | 0 | 0 | 272 | 31 | 0 | 20 | 26 | 0 | 525 | 55 | 0 | 0 | 45
[21 empty] | MIL01 | EMEA | SZR | SZR | 364 | 1050 | 16 | 783.3 | 241 | 30.77% | 195 | 0 | 115 | 32.2 | 0 | 0 | 136.1 | 0 | 0 | 305 | 37 | 0 | 29 | 20 | 0 | 0 | 59 | 0 | 0 | 96
[21 empty] | MON01 | NASA | SZR | SZR | 434 | 1800 | 28 | 1210 | 321 | 26.53% | 498 | 0 | 20 | 46 | 0 | 0 | 220.4 | 0 | 259.6 | 166 | 166 | 0 | 8 | 26 | 0 | 0 | 65 | 0 | 0 | 58
[21 empty] | MON04 | NASA | MON MZR | MZR | 395 | 1500 | 13 | 1225.6 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1225.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | MUM02 | APAC | MUM MZR | MZR | 0 | 0 | 12 | 683.6 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 681.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | MUM03 | APAC | MUM MZR | MZR | 0 | 0 | 6 | 429.6 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 356.8 | 70.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | OSA21 | APAC | OSA MZR | MZR | 401 | 1000 | 10 | 780.8 | 479 | 61.35% | 102 | 0 | 30 | 50.6 | 0 | 305 | 131.2 | 0 | 0 | 162 | 76 | 0 | 16 | 26 | 0 | 275 | 50 | 0 | 0 | 39
[21 empty] | OSA22 | APAC | OSA MZR | MZR | 340 | 1000 | 10 | 811.8 | 448 | 55.19% | 102 | 0 | 30 | 50.6 | 0 | 300 | 131.2 | 0 | 0 | 198 | 39 | 0 | 18 | 26 | 0 | 270 | 50 | 0 | 0 | 47
[21 empty] | OSA23 | APAC | OSA MZR | MZR | 347 | 1000 | 10 | 815.4 | 442 | 54.21% | 102 | 0 | 30 | 50.6 | 0 | 285 | 185.8 | 0 | 0 | 162 | 40 | 0 | 20 | 26 | 0 | 270 | 47 | 0 | 0 | 41
[21 empty] | PAR01 | EMEA | SZR | SZR | 606 | 1220 | 21 | 1183.6 | 364 | 30.75% | 595 | 0 | 180 | 27.6 | 0 | 0 | 185 | 0 | 0 | 196 | 195 | 0 | 7 | 17 | 0 | 0 | 90 | 0 | 0 | 58
[21 empty] | PAR04 | EMEA | PAR MZR | MZR | 948 | 2200 | 26 | 1842 | 1191 | 64.66% | 294 | 0 | 80 | 20 | 0 | 1075 | 147 | 0 | 0 | 226 | 154 | 0 | 80 | 14 | 0 | 815 | 71 | 0 | 0 | 60
[21 empty] | PAR05 | EMEA | PAR MZR | MZR | 912 | 1100 | 16 | 1279.1 | 945 | 73.88% | 174 | 0 | 80 | 20 | 0 | 733 | 134.1 | 0 | 0 | 138 | 179 | 0 | 86 | 14 | 0 | 553 | 64 | 0 | 0 | 50
[21 empty] | PAR06 | EMEA | PAR MZR | MZR | 808 | 1125 | 12 | 1249.1 | 885 | 70.85% | 114 | 0 | 60 | 23 | 0 | 759 | 135.1 | 0 | 0 | 158 | 130 | 0 | 84 | 14 | 0 | 547 | 60 | 0 | 0 | 50
[21 empty] | SAO01 | NASA | SAO MZR | MZR | 1104.23 | 2800 | 35 | 2596.5 | 1299 | 50.03% | 869 | 0 | 100 | 55.2 | 0 | 630 | 256.7 | 0 | 259.6 | 426 | 433 | 0 | 8 | 28 | 0 | 565 | 111 | 0 | 56 | 100
[21 empty] | SAO04 | NASA | SAO MZR | MZR | 649.8186 | 1400 | 18 | 1328.55 | 774 | 58.26% | 285 | 0 | 0 | 26.75 | 0 | 482.4 | 112.8 | 0 | 259.6 | 162 | 96 | 0 | 0 | 17 | 0 | 428 | 66 | 0 | 117 | 52
[21 empty] | SAO05 | NASA | SAO MZR | MZR | 456.7 | 1400 | 16 | 1173.25 | 619 | 52.76% | 324 | 0 | 0 | 49.75 | 0 | 490 | 129.5 | 0 | 0 | 180 | 77 | 0 | 0 | 31 | 0 | 405 | 58 | 0 | 0 | 48
[21 empty] | SJC03 | NASA | SZR | SZR | 962 | 2400 | 41 | 2775.5 | 781 | 28.14% | 1338 | 0 | 560 | 48.8 | 0 | 0 | 312.7 | 0 | 0 | 516 | 379 | 0 | 106 | 28 | 0 | 0 | 139 | 0 | 0 | 131
[21 empty] | SJC04 | NASA | SZR | SZR | 833.571 | 3430 | 24 | 1293.5 | 794 | 61.38% | 540 | 0 | 200 | 96.6 | 0 | 112 | 203.3 | 0 | 0 | 141.6 | 569 | 0 | 59 | 34 | 0 | 0 | 86 | 0 | 0 | 47
[21 empty] | SNG01 | APAC | SZR | SZR | 764 | 2880 | 41 | 2248.2 | 497 | 22.11% | 1505 | 0 | 140 | 27.6 | 0 | 0 | 345.6 | 0 | 0 | 230 | 238 | 0 | 36 | 14 | 0 | 0 | 135 | 0 | 0 | 75
[21 empty] | SYD01 | APAC | SYD MZR | MZR | 869 | 2800 | 45 | 2498 | 872 | 34.91% | 804 | 0 | 450 | 73.6 | 0 | 465 | 361.4 | 0 | 0 | 344 | 168 | 0 | 78 | 34 | 0 | 385 | 120 | 0 | 0 | 89
[21 empty] | SYD04 | APAC | SYD MZR | MZR | 850 | 2200 | 30 | 2225.5 | 1205 | 54.15% | 624 | 0 | 200 | 110.4 | 0 | 740 | 263.1 | 0 | 0 | 288 | 226 | 0 | 69 | 53 | 0 | 690 | 95 | 0 | 0 | 73
[21 empty] | SYD05 | APAC | SYD MZR | MZR | 605 | 2000 | 21 | 1617.9 | 827 | 51.12% | 390 | 0 | 200 | 50.6 | 0 | 593.7 | 185.6 | 0 | 0 | 198 | 101 | 0 | 98 | 31 | 0 | 470 | 81 | 0 | 0 | 48
[21 empty] | TOK02 | APAC | TOK MZR | MZR | 1825 | 4700 | 62 | 3848.3 | 1704 | 44.28% | 1759 | 0 | 470 | 55.2 | 0 | 673 | 413.1 | 0 | 0 | 478 | 577 | 0 | 125 | 34 | 0 | 656 | 180 | 0 | 0 | 133
[21 empty] | TOK04 | APAC | TOK MZR | MZR | 957 | 3000 | 28 | 1916.3 | 1128 | 58.86% | 354 | 0 | 250 | 55.2 | 0 | 593 | 159.1 | 0 | 295 | 210 | 225 | 0 | 122 | 34 | 0 | 537 | 71 | 0 | 86 | 56
[21 empty] | TOK05 | APAC | TOK MZR | MZR | 859 | 3000 | 30 | 2016 | 1177 | 58.38% | 516 | 0 | 190 | 41.4 | 0 | 839 | 219.6 | 0 | 0 | 210 | 190 | 0 | 115 | 26 | 0 | 717 | 78 | 0 | 0 | 52
[21 empty] | TOR01 | NASA | TOR MZR | MZR | 1286 | 4050 | 66 | 4093.44 | 1486 | 36.3% | 1733.4 | 0 | 500 | 41.4 | 0 | 726 | 405.04 | 0 | 259.6 | 428 | 376 | 0 | 100 | 26 | 0 | 600 | 190 | 0 | 86 | 110
[21 empty] | TOR04 | NASA | TOR MZR | MZR | 1102.0682 | 3000 | 28 | 2604.5 | 1690 | 64.89% | 270 | 0 | 100 | 55.2 | 0 | 1736 | 167.3 | 0 | 0 | 276 | 85 | 0 | 39 | 28 | 0 | 1430 | 53 | 0 | 0 | 56
[21 empty] | TOR05 | NASA | TOR MZR | MZR | 1098.274 | 3000 | 30 | 2878.1 | 1969 | 68.41% | 270 | 0 | 90 | 36.8 | 0 | 2016 | 177.3 | 0 | 0 | 288 | 98 | 0 | 42 | 23 | 0 | 1690 | 60 | 0 | 0 | 58
[21 empty] | WDC01 | NASA | SZR | SZR | 0 | 0 | 48 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[21 empty] | WDC03 | NASA | SZR | SZR | 321 | 1200 | 18 | 971.6 | 177 | 18.22% | 340 | 0 | 90 | 82.8 | 0 | 0 | 223.8 | 0 | 0 | 235 | 0 | 0 | 0 | 37 | 0 | 0 | 72 | 0 | 0 | 70
[21 empty] | WDC04 | NASA | WDC MZR | MZR | 5283.0734 | 9900 | 148 | 10728.2 | 4985 | 46.47% | 4314 | 30 | 795 | 179 | 350 | 2894 | 962.6 | 56 | 259.6 | 888 | 1578 | 0 | 256 | 78 | 130 | 2316 | 399 | 0 | 0 | 231
[21 empty] | WDC06 | NASA | WDC MZR | MZR | 3257.22 | 6000 | 61 | 6047.1 | 4018 | 66.45% | 883 | 7 | 532 | 84.2 | 150 | 2883 | 226.1 | 56 | 793.8 | 432 | 513 | 0 | 260 | 42 | 70 | 2582 | 106 | 0 | 331 | 116
[21 empty] | WDC07 | NASA | WDC MZR | MZR | 4623.2239 | 9500 | 87 | 11705.9 | 6596 | 56.35% | 1376 | 0 | 218 | 41.4 | 250 | 8576 | 308.3 | 56 | 519.2 | 361 | 880 | 0 | 140 | 26 | 110 | 5065 | 127 | 0 | 166 | 85
Note on I14: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Adjusted number to current reading value.

## trend
Capacity Availability and Utilization Analysis
Data as of 06/30/2025
2025-06-30 | 9455 | 19394 | 47287 | 7658 | 0 | 19517 | 8139 | 3983 | 2100 | 0 | 0 | 1369 | 3021 | 2692 | 2904 | 4009 | 5145 | 15599 | 76136
^^ FORMULAS | APAC | EMEA | NASA | SZR | CHE MZR | DAL MZR | FRA MZR | LON MZR | MAD MZR | MON MZR | MUM MZR | OSA MZR | PAR MZR | SAO MZR | SYD MZR | TOK MZR | TOR MZR | WDC MZR
| Monthly Values in KW | [18 empty] | Delta in kW
Date | APAC | EMEA | NASA | SZR | CHE MZR | DAL MZR | FRA MZR | LON MZR | MAD MZR | MON MZR | MUM MZR | OSA MZR | PAR MZR | SAO MZR | SYD MZR | TOK MZR | TOR MZR | WDC MZR | Total | APAC | EMEA | NASA | SZR | CHE MZR | DAL MZR | FRA MZR | LON MZR | MAD MZR | MON MZR | MUM MZR | OSA MZR | PAR MZR | SAO MZR | SYD MZR | TOK MZR | TOR MZR | WDC MZR | Total
2022-12-31 | 8897 | 13581 | 38119 | 12717 | 0 | 15195 | 5541 | 3038 | 0 | 0 | 0 | 1235 | 1775 | 2088 | 2481 | 3295 | 2836 | 10396 | 60597 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-01-31 | 8527 | 13506 | 38365 | 12148 | 0 | 15383 | 5593 | 3046 | 0 | 0 | 0 | 1241 | 1808 | 2097 | 2479 | 3268 | 3000 | 10335 | 60398 | -370 | -75 | 246 | -569 | 0 | 188 | 52 | 8 | 0 | 0 | 0 | 6 | 33 | 9 | -2 | -27 | 164 | -61 | -199
2023-02-28 | 8345 | 13499 | 38678 | 11711 | 0 | 15557 | 5638 | 3048 | 0 | 0 | 0 | 1240 | 1818 | 2097 | 2447 | 3266 | 3219 | 10481 | 60522 | -182 | -7 | 313 | -437 | 0 | 174 | 45 | 2 | 0 | 0 | 0 | -1 | 10 | 0 | -32 | -2 | 219 | 146 | 124
2023-03-31 | 8289 | 13640 | 39073 | 11531 | 0 | 15819 | 5672 | 3112 | 0 | 0 | 0 | 1244 | 1861 | 2097 | 2436 | 3267 | 3222 | 10741 | 61002 | -56 | 141 | 395 | -180 | 0 | 262 | 34 | 64 | 0 | 0 | 0 | 4 | 43 | 0 | -11 | 1 | 3 | 260 | 480
2023-04-30 | 8348 | 13679 | 39124 | 11483 | 0 | 15940 | 5695 | 3097 | 0 | 0 | 0 | 1253 | 1895 | 2078 | 2430 | 3265 | 3229 | 10786 | 61151 | 59 | 39 | 51 | -48 | 0 | 121 | 23 | -15 | 0 | 0 | 0 | 9 | 34 | -19 | -6 | -2 | 7 | 45 | 149
2023-05-31 | 8368 | 13617 | 39530 | 11431 | 0 | 16118 | 5698 | 3062 | 0 | 0 | 0 | 1248 | 1905 | 2056 | 2457 | 3261 | 3427 | 10852 | 61515 | 20 | -62 | 406 | -52 | 0 | 178 | 3 | -35 | 0 | 0 | 0 | -5 | 10 | -22 | 27 | -4 | 198 | 66 | 364
2023-06-30 | 8463 | 13811 | 40047 | 11359 | 0 | 16508 | 5937 | 3025 | 0 | 0 | 0 | 1251 | 1914 | 2053 | 2539 | 3280 | 3428 | 11027 | 62321 | 95 | 194 | 517 | -72 | 0 | 390 | 239 | -37 | 0 | 0 | 0 | 3 | 9 | -3 | 82 | 19 | 1 | 175 | 806
2023-07-31 | 8446 | 13762 | 39788 | 11206 | 0 | 16386 | 5930 | 3063 | 0 | 0 | 0 | 1248 | 1882 | 2056 | 2506 | 3304 | 3395 | 11020 | 61996 | -17 | -49 | -259 | -153 | 0 | -122 | -7 | 38 | 0 | 0 | 0 | -3 | -32 | 3 | -33 | 24 | -33 | -7 | -325
2023-08-31 | 8446 | 13924 | 40120 | 11111 | 0 | 16895 | 6065 | 3042 | 0 | 0 | 0 | 1247 | 1907 | 2043 | 2492 | 3321 | 3367 | 11000 | 62490 | 0 | 162 | 332 | -95 | 0 | 509 | 135 | -21 | 0 | 0 | 0 | -1 | 25 | -13 | -14 | 17 | -28 | -20 | 494
2023-09-30 | 8480 | 14420 | 40363 | 11053 | 0 | 17009 | 6309 | 3222 | 0 | 0 | 0 | 1249 | 2009 | 2115 | 2501 | 3351 | 3372 | 11073 | 63263 | 34 | 496 | 243 | -58 | 0 | 114 | 244 | 180 | 0 | 0 | 0 | 2 | 102 | 72 | 9 | 30 | 5 | 73 | 773
2023-10-31 | 8495 | 14567 | 40467 | 10943 | 0 | 17106 | 6218 | 3496 | 0 | 0 | 0 | 1246 | 2029 | 2099 | 2469 | 3409 | 3478 | 11036 | 63529 | 15 | 147 | 104 | -110 | 0 | 97 | -91 | 274 | 0 | 0 | 0 | -3 | 20 | -16 | -32 | 58 | 106 | -37 | 266
2023-11-30 | 8831 | 14864 | 40534 | 10895 | 0 | 17110 | 6316 | 3666 | 0 | 0 | 0 | 1397 | 2058 | 2105 | 2564 | 3525 | 3606 | 10987 | 64229 | 336 | 297 | 67 | -48 | 0 | 4 | 98 | 170 | 0 | 0 | 0 | 151 | 29 | 6 | 95 | 116 | 128 | -49 | 700
2023-12-31 | 8646 | 14771 | 40363 | 10557 | 0 | 16960 | 6192 | 3743 | 0 | 0 | 0 | 1368 | 2094 | 2085 | 2468 | 3543 | 3702 | 11068 | 63780 | -185 | -93 | -171 | -338 | 0 | -150 | -124 | 77 | 0 | 0 | 0 | -29 | 36 | -20 | -96 | 18 | 96 | 81 | -449
2024-01-31 | 8757 | 16997 | 41306 | 10515 | 0 | 17559 | 6241 | 4023 | 1921 | 0 | 0 | 1370 | 2089 | 2091 | 2586 | 3578 | 3912 | 11175 | 67060 | 111 | 2226 | 943 | -42 | 0 | 599 | 49 | 280 | 1921 | 0 | 0 | 2 | -5 | 6 | 118 | 35 | 210 | 107 | 3280
2024-02-29 | 8957 | 17713 | 42086 | 10470 | 0 | 17717 | 6426 | 4160 | 2017 | 0 | 0 | 1368 | 2359 | 2101 | 2695 | 3719 | 4199 | 11525 | 68756 | 200 | 716 | 780 | -45 | 0 | 158 | 185 | 137 | 96 | 0 | 0 | -2 | 270 | 10 | 109 | 141 | 287 | 350 | 1696
2024-03-31 | 9010 | 17954 | 43026 | 10489 | 0 | 18193 | 6665 | 4169 | 2000 | 0 | 0 | 1367 | 2436 | 2102 | 2686 | 3754 | 4389 | 11740 | 69990 | 53 | 241 | 940 | 19 | 0 | 476 | 239 | 9 | -17 | 0 | 0 | -1 | 77 | 1 | -9 | 35 | 190 | 215 | 1234
2024-04-30 | 9257 | 17954 | 43063 | 10196 | 0 | 18087 | 6623 | 4077 | 2017 | 0 | 0 | 1345 | 2593 | 2197 | 2804 | 3945 | 4478 | 11912 | 70274 | 247 | 0 | 37 | -293 | 0 | -106 | -42 | -92 | 17 | 0 | 0 | -22 | 157 | 95 | 118 | 191 | 89 | 172 | 284
2024-05-31 | 9417 | 17864 | 42685 | 9604 | 0 | 18207 | 6566 | 3985 | 2007 | 0 | 0 | 1505 | 2718 | 2176 | 2781 | 3971 | 4478 | 11968 | 69966 | 160 | -90 | -378 | -592 | 0 | 120 | -57 | -92 | -10 | 0 | 0 | 160 | 125 | -21 | -23 | 26 | 0 | 56 | -308
2024-06-30 | 9483 | 18152 | 43329 | 9456 | 0 | 18636 | 6612 | 3971 | 2135 | 0 | 0 | 1505 | 2870 | 2156 | 2794 | 3956 | 4594 | 12279 | 70964 | 66 | 288 | 644 | -148 | 0 | 429 | 46 | -14 | 128 | 0 | 0 | 0 | 152 | -20 | 13 | -15 | 116 | 311 | 998
2024-07-31 | 9608 | 18361 | 44331 | 9008 | 0 | 18805 | 6707 | 4033 | 2215 | 340 | 0 | 1504 | 2894 | 2283 | 2844 | 4029 | 4694 | 12944 | 72300 | 125 | 209 | 1002 | -448 | 0 | 169 | 95 | 62 | 80 | 340 | 0 | -1 | 24 | 127 | 50 | 73 | 100 | 665 | 1336
2024-08-31 | 9733 | 18215 | 45379 | 8827 | 0 | 18910 | 6698 | 4006 | 2136 | 340 | 0 | 1525 | 2922 | 2358 | 2838 | 4143 | 4709 | 13915 | 73327 | 125 | -146 | 1048 | -181 | 0 | 105 | -9 | -27 | -79 | 0 | 0 | 21 | 28 | 75 | -6 | 114 | 15 | 971 | 1027
2024-09-30 | 9743 | 18355 | 45031 | 8849 | 0 | 18963 | 6983 | 3967 | 2006 | 380 | 0 | 1520 | 2949 | 2448 | 2831 | 4172 | 4836 | 13225 | 73129 | 10 | 140 | -348 | 22 | 0 | 53 | 285 | -39 | -130 | 40 | 0 | -5 | 27 | 90 | -7 | 29 | 127 | -690 | -198
2024-10-31 | 9682 | 18296 | 45670 | 8700 | 0 | 18754 | 6949 | 3859 | 2004 | 440 | 0 | 1522 | 3077 | 2498 | 2826 | 4143 | 4865 | 14011 | 73648 | -61 | -59 | 639 | -149 | 0 | -209 | -34 | -108 | -2 | 60 | 0 | 2 | 128 | 50 | -5 | -29 | 29 | 786 | 519
2024-11-30 | 9798 | 18354 | 45370 | 8564 | 0 | 18881 | 7001 | 3840 | 2123 | 620 | 0 | 1518 | 3074 | 2598 | 2891 | 4208 | 4940 | 13264 | 73522 | 116 | 58 | -300 | -136 | 0 | 127 | 52 | -19 | 119 | 180 | 0 | -4 | -3 | 100 | 65 | 65 | 75 | -747 | -126
2024-12-31 | 9798 | 18369 | 46185 | 8497 | 0 | 18810 | 7064 | 3820 | 2134 | 1160 | 0 | 1515 | 3053 | 2613 | 2874 | 4230 | 4925 | 13657 | 74352 | 0 | 15 | 815 | -67 | 0 | -71 | 63 | -20 | 11 | 540 | 0 | -3 | -21 | 15 | -17 | 22 | -15 | 393 | 830
2025-01-31 | 9834 | 18574 | 46771 | 8531 | 0 | 19074 | 7057 | 3901 | 2146 | 1260 | 0 | 1513 | 3141 | 2655 | 2875 | 4265 | 5045 | 13716 | 75179 | 36 | 205 | 586 | 34 | 0 | 264 | -7 | 81 | 12 | 100 | 0 | -2 | 88 | 42 | 1 | 35 | 120 | 59 | 827
2025-02-28 | 9914 | 19357 | 46543 | 8349 | 0 | 19130 | 7510 | 3936 | 2195 | 0 | 0 | 1511 | 3411 | 2751 | 2935 | 4310 | 5099 | 14677 | 75814 | 80 | 783 | -228 | -182 | 0 | 56 | 453 | 35 | 49 | -1260 | 0 | -2 | 270 | 96 | 60 | 45 | 54 | 961 | 635
2025-03-31 | 10144 | 19298 | 47121 | 8336 | 0 | 19234 | 7467 | 3917 | 2178 | 0 | 0 | 1650 | 3452 | 2756 | 3022 | 4285 | 5207 | 15059 | 76563 | 230 | -59 | 578 | -13 | 0 | 104 | -43 | -19 | -17 | 0 | 0 | 139 | 41 | 5 | 87 | -25 | 108 | 382 | 749
2025-04-30 | 10132 | 19237 | 47152 | 8234 | 0 | 19915 | 7484 | 4009 | 2197 | 0 | 0 | 1646 | 3278 | 2749 | 3075 | 4233 | 5294 | 14407 | 76521 | -12 | -61 | 31 | -102 | 0 | 681 | 17 | 92 | 19 | 0 | 0 | -4 | -174 | -7 | 53 | -52 | 87 | -652 | -42
2025-05-31 | 10184 | 19847 | 46335 | 7941 | 0 | 19779 | 8159 | 3984 | 2209 | 0 | 0 | 1656 | 3323 | 2756 | 3074 | 4276 | 5288 | 13921 | 76366 | 52 | 610 | -817 | -293 | 0 | -136 | 675 | -25 | 12 | 0 | 0 | 10 | 45 | 7 | -1 | 43 | -6 | -486 | -155
2025-06-30 | 9455 | 19394 | 47287 | 7658 | 0 | 19517 | 8139 | 3983 | 2100 | 0 | 0 | 1369 | 3021 | 2692 | 2904 | 4009 | 5145 | 15599 | 76136 | -729 | -453 | 952 | -283 | 0 | -262 | -20 | -1 | -109 | 0 | 0 | -287 | -302 | -64 | -170 | -267 | -143 | 1678 | -230

## internal_assumptions
DC | Server Room | Row | Row Type | Power Reading /kW | 0 | [5 empty] | Column used on RB
FRA04 | SR01 | rk45-55 | Storage | 25.5 |  | Row Type | Average kW | Min kW | Max k/W | Typical Rack Count | Estimated AVG kW Per Rack | Estimated MAX kW Per Rack
FRA04 | SR01 | rk56-66 | Fabric | 62 |  | Fabric | 33.4206 | 2 | 73.5165 | 12 | 2.7851 | 6.1264
FRA04 | SR01 | rk67-77 | Storage | 11.5 |  | Gen1 | 42.2563 | 10.63 | 85 | 11 | 3.8415 | 7.7273
FRA04 | SR01 | rk78-88 | Storage | 31.9 |  | Gen2 | 45.234 | 3.79 | 115.2 | 11 | 20 | 10.4727
FRA04 | SR01 | rk89-100 | Network | 78.3 |  | Network | 37.115 | 5.29 | 103 | 12 | 3.0929 | 8.5833
FRA04 | SR01 | rk101-112 | Fabric | 49.6 |  | PowerVS | 67.29 | 20.01 | 169.7 | 11 | 6.1173 | 15.4273
FRA04 | SR02 | rk45-55 | Gen2 | 71.7 |  | Storage | 21.1159 | 4.4 | 76.659 | 11 | 1.9196 | 6.969
FRA04 | SR02 | rk67-77 | Gen2 | 115.2
FRA04 | SR02 | rk89-100 | Gen2 | 85.8
FRA04 | SR02 | rk101-112 | Network | 8
FRA04 | SR03 | rk56-66 | Storage | 4.4
LON04 | SR1 | Rk43-RK54 | Network | 103
LON04 | SR3 | Rk45-RK56 | Fabric | 2
LON04 | SR4 | Rk57-Rk78 | Gen1 | 85
LON04 | SR4 | Rk79-Rk100 | Gen1 | 75
LON04 | SR4 | Rk101-Rk112 | Gen2 | 56
LON04 | SR5 | Rk1-Rk11 | Storage | 6
wdc06 | 1 | 6 | Network | 82.133
wdc06 | 1 | 7 | Fabric | 14.352
wdc06 | 1 | 8 | Fabric | 44.758
wdc06 | 1 | 9 | Storage | 76.659
wdc06 | 1 | 11 | Storage | 54.05
wdc06 | 1 | 3 | Storage | 5.335
wdc06 | 1 | 10 | Storage | 18.883
wdc06 | 1 | 12 | Storage | 17.043
wdc06 | 1 | 18 | Gen2 | 20.332
wdc06 | 1 | 24 | Gen2 | 22.31
wdc06 | 1 | 25 | Gen2 | 10.971
wdc06 | 2 | 20 | Fabric | 58.12
wdc06 | 2 | 19 | Fabric | 28.376
wdc06 | 2 | 17 | Gen2 | 112.217
wdc06 | 2 | 16 | Storage | 9.717
wdc06 | 2 | 14 | Gen2 | 31.684
wdc06 | 2 | 13 | Gen2 | 22.057
wdc06 | 2 | 12 | Gen1 | 69.713
wdc06 | 2 | 11 | Gen1 | 51.06
wdc06 | 2 | 10 | Gen1 | 38.203
wdc06 | 2 | 9 | Gen1 | 53.797
wdc06 | 2 | 2 | Gen2 | 46.713
wdc06 | 2 | 1 | Gen2 | 30.107
DAL05 | SR03 | 20 | Network | 5.81
DAL05 | SR03 | 23 | Storage | 7.17
DAL05 | SR03 | 26 | Network | 13.99
DAL05 | SR03 | 29 | Fabric | 18.56
DAL05 | SR01 | 2 | Network | 11.61
DAL05 | SR01 | 4 | Fabric | 27.66
DAL05 | SR01 | 5 | Storage | 21.82
DAL05 | SR01 | 6 | Storage | 7.1
FRA05 | Sr01 | CS Row - 45-55 | Storage | 43.6
FRA05 | Sr01 | CS Row - 45-55 | Storage | 43.5
FRA05 | Sr01 | Core row - 69-79 | Fabric | 53.3
FRA05 | Sr01 | Core - row - 69-79 | Fabric | 53.1
FRA05 | Sr01 | Control row - 93-103 | Network | 32.8
FRA05 | Sr01 | Control row - 93-103 | Network | 36.7
FRA05 | Sr02 | Gen2 Row 1 - 91-101 | Gen2 | 51.6
FRA05 | Sr02 | Gen2 Row 1 - 91-101 | Gen2 | 52.1
FRA05 | Sr02 | Gen2 Row 2 - 113-123 | Gen2 | 24.6
FRA05 | Sr02 | Gen2 Row 2 - 113-123 | Gen2 | 37.5
FRA05 | Sr02 | Gen2 Row 3 - 80-90 | Gen2 | 11.8
FRA05 | Sr02 | Gen2 Row 3 - 80-90 | Gen2 | 3.79
HKG02 | 1 | 1 | Network | 5.29
HKG02 | 1 | 2 | Storage | 16.14
HKG02 | 1 | 3 | Fabric | 11.5
HKG02 | 1 | 4 | Network | 25.28
HKG02 | 2 | 1 | Gen1 | 12.42
HKG02 | 2 | 2 | Gen1 | 10.63
HKG02 | 2 | 3 | Storage | 36.61
HKG02 | 2 | 4 | Gen1 | 13.9
HKG02 | 2 | 5 | Network | 7.77
HKG02 | 2 | 6 | Storage | 23.92
HKG02 | 2 | 7 | Gen1 | 12.84
HKG02 | 2 | 8 | Storage | 11.96
HKG02 | 2 | 9 | Storage | 5.24
MIL01 | SR01 | I1 | Storage | 18.74
MIL01 | SR01 | I2 | Storage | 7.11
MIL01 | SR01 | I3 | Fabric | 18.47
MIL01 | SR01 | I4 | Network | 19.81
Par05 | SR1 | 1 | Network | 68
Par05 | SR1 | 2 | Network | 34.0269
Par05 | SR1 | 4 | Fabric | 70.6206
PAR06 | SR 01 | 1 | Network | 65
PAR06 | SR 01 | 2 | Network | 33.4345
PAR06 | SR 01 | 3 | Fabric | 73.5165
TOR01 | SR03 | Row33-RK320-RK330-RPP-A-4-2 | Gen2 | 49
TOR01 | SR03 | Row33-RK320-RK330-RPP-B-4-2 | Gen2 | 49.2
TOR01 | SR03 | Row34-RK331-RK341-RPP-A-5-1 | Storage | 12.9
TOR01 | SR03 | Row34-RK331-RK341-RPP-B-5-1 | Storage | 11.1
TOR01 | SR03 | Row35-RK342-RK352-RPP-A-5-2 | Fabric | 18.2
TOR01 | SR03 | Row35-RK342-RK352-RPP-B-5-2 | Fabric | 18.3
TOR01 | SR03 | Row19-RK364-RK374-RPP-A-1-4 | Fabric | 25.4
TOR01 | SR03 | Row19-RK364-RK374-RPP-B-1-4 | Fabric | 24.6
TOR01 | SR03 | Row23-RK408-RK418-RPP-A-3-3 | Fabric | 14.9
TOR01 | SR03 | Row23-RK408-RK418-RPP-B-3-3 | Fabric | 14.5
DAL12 | 2 | rk423-433 | PowerVS | 156.53
DAL12 | 2 | rk434-444 | PowerVS | 169.7
SAO04 | 1 | rk179-189 | PowerVS | 20.01
TOK04 | 2 | rk01-10 | PowerVS | 28.62
WDC06 | 2 | rk199-204 | PowerVS | 26.15
WDC06 | 2 | rk210-220 | PowerVS | 33.59
WDC07 | 3 | rk12-22 | PowerVS | 36.43
Note on O5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Hardcoded to 20kW

## power_inputs
Capacity Availability and Utilization Analysis
Data as of 06/30/2025
Power Inputs from Capacity Summary Report
Site | Server Room | Current Reading | Max Available | Power Calculator
AMS03 | 1 | 450.92 | 1400 | 0
AMS03 | 2 | 645.55 | 1400 | 0
AMS03 | 3 | 305.27 | 1400 | 0
CHE01 | 1 | 636 | 1400 | 0
CHE01 | 2 | 47 | 1400 | 0
CHE02 | 1 | 0
CHE02 | 2 | 0
CHE02 | 3 | 0
DAL08 | 1 | 318 | 1125 | 146.2242
DAL08 | 1 | 500 | 1125 | 289.1741
DAL09 | 1 | 369 | 1125 | 525.2932
DAL09 | 2 | 351 | 1200 | 307.4544
DAL09 | 3 | 186 | 1200 | 146.524
DAL09 | 4 | 39.472 | 600 | 39.472
DAL09 | 5 | 49.0149 | 600 | 49.0149
DAL09 | 6 | 168 | 1200 | 139.3217
DAL09 | 7 | 532 | 1200 | 550.4142
DAL09 | 8 | 222 | 1200 | 267.1655
DAL09 | 9 | 417 | 1200 | 448.3433
DAL10 | 1 | 1060 | 2000 | 1017.7363
DAL10 | 1 | 899 | 2000 | 931.1386
DAL10 | 2 | 1172 | 2000 | 1180.5704
DAL10 | 2 | 964 | 2000 | 959.3735
DAL10 | 3 | 977 | 2000 | 1091.7106
DAL10 | 4 | 452.1041 | 1200 | 447.7231
DAL10 | 5 | 320 | 850 | 381.3708
DAL10 | 6 | 450 | 1000 | 451.9694
DAL12 | 1 | 1224 | 2400 | 1232.0337
DAL12 | 2 | 718 | 2000 | 989.4773
DAL12 | 2 | 672 | 2000 | 1161.7462
DAL12 | 2 | 687 | 1000 | 353.2783
DAL12 | 3 | 559 | 1200 | 390.3512
DAL13 | 1 | 1304.63 | 2250 | 1311.0229
DAL13 | 1 | 1203.02 | 2250 | 1201.3559
DAL13 | 2 | 965.91 | 2250 | 1069.5475
DAL13 | 3 | 1621.01 | 2250 | 1037.0191
DAL14 | 1 | 598.5 | 2200 | 661.749
FRA02 | 1 | 578.4 | 1400 | 0
FRA02 | 2 | 351 | 700 | 0
FRA02 | 3 | 471.7 | 700 | 0
FRA02 | 4 | 516.8 | 1400 | 0
FRA02 | 5 | 98.6 | 300 | 0
FRA02 | 6 | 779.1 | 1760 | 0
FRA04 | 1 | 423 | 1000 | 0
FRA04 | 2 | 675 | 1000 | 0
FRA04 | 3 | 581 | 1000 | 0
FRA04 | 4 | 310 | 1200 | 0
FRA05 | 1 | 678 | 1200 | 0
FRA05 | 2 | 589 | 1200 | 0
FRA05 | 3 | 436 | 800 | 0
FRA05 | 4 | 63 | 800 | 0
FRA05 | 5 | 1 | 800 | 0
LON02 | 1 | 347 | 720 | 0
LON02 | 3 | 153 | 960 | 0
LON02 | 4 | 428 | 960 | 0
LON04 | 1 | 287 | 500 | 0
LON04 | 2 | 175 | 500 | 0
LON04 | 3 | 167 | 500 | 0
LON04 | 4 | 184 | 500 | 0
LON04 | 5 | 152 | 500 | 0
LON04 | 6 | 221 | 500 | 0
LON04 | 7 | 0 | 1000 | 0
LON05 | 1 | 336 | 1000 | 0
LON05 | 2 | 374 | 1000 | 0
LON05 | 3 | 0 | 1000 | 0
LON06 | 1 | 384 | 1000 | 0
LON06 | 2 | 209 | 1000 | 0
LON06 | 3 | 259 | 1000 | 0
MAD02 | 1 | 575 | 1500 | 0
MAD04 | 1 | 393 | 1000 | 0
MAD04 | 2 | 111 | 500 | 0
MAD05 | 1 | 441 | 1500 | 0
MIL01 | 1 | 166 | 525 | 0
MIL01 | 2 | 198 | 525 | 0
MON01 | 1 | 341 | 900 | 0
MON01 | 2 | 93 | 900 | 0
MON04 | 1 | 134 | 500
MON04 | 2 | 133 | 500
MON04 | 3 | 128 | 500
OSA21 | 1 | 401 | 1000 | 0
OSA22 | 2 | 340 | 1000 | 0
OSA23 | 1 | 347 | 1000 | 0
PAR01 | 1 | 606 | 1220 | 0
PAR04 | 1 | 869 | 1400 | 0
PAR04 | 2 | 79 | 800 | 0
PAR05 | 1 | 912 | 1100 | 0
PAR06 | 1 | 808 | 1125 | 0
SAO01 | 1 | 445.53 | 1400 | 0
SAO01 | 2 | 658.7 | 1400 | 0
SAO04 | 1 | 649.8186 | 1400 | 0
SAO05 | 1 | 456.7 | 1400 | 0
SJC03 | 1 | 451 | 1200 | 0
SJC03 | 1 | 511 | 1200 | 0
SJC04 | 1 | 833.571 | 1975 | 0
SJC04 | 2 | 0 | 1455 | 0
SNG01 | 1 | 239 | 720 | 0
SNG01 | 2 | 282 | 720 | 0
SNG01 | 3 | 133 | 720 | 0
SNG01 | 4 | 110 | 720 | 0
SYD01 | 1 | 164 | 700 | 0
SYD01 | 2 | 139 | 700 | 0
SYD01 | 3 | 252 | 700 | 0
SYD01 | 4 | 314 | 700 | 0
SYD04 | 1 | 442 | 1000 | 0
SYD04 | 2 | 408 | 1200 | 0
SYD05 | 1 | 367 | 1000 | 0
SYD05 | 1 | 108 | 500 | 0
SYD05 | 1 | 130 | 500 | 0
TOK02 | 1 | 366 | 800 | 0
TOK02 | 2 | 188 | 400 | 0
TOK02 | 3 | 238 | 400 | 0
TOK02 | 3 | 203 | 500 | 0
TOK02 | 4 | 363 | 800 | 0
TOK02 | 5 | 340 | 800 | 0
TOK02 | 5 | 127 | 1000 | 0
TOK04 | 1 | 442 | 1000 | 0
TOK04 | 2 | 470 | 1000 | 0
TOK04 | 3 | 45 | 1000
TOK05 | 1 | 359 | 1000 | 0
TOK05 | 2 | 410 | 1000 | 0
TOK05 | 3 | 90 | 1000 | 0
TOR01 | 1 | 438 | 1350 | 0
TOR01 | 2 | 409 | 1350 | 0
TOR01 | 3 | 439 | 1350 | 0
TOR04 | 1 | 1032.2458 | 2000 | 0
TOR04 | 2 | 69.8225 | 1000 | 0
TOR05 | 1 | 761 | 1500 | 0
TOR05 | 2 | 337.274 | 1500 | 0
WDC03 | 1 | 321 | 1200 | 352.6545
WDC04 | 1 | 489 | 1200 | 465.2196
WDC04 | 2 | 394 | 1200 | 379.2628
WDC04 | 3 | 481 | 1200 | 526.7223
WDC04 | 4 | 670 | 1200 | 659.8411
WDC04 | 5 | 641 | 1200 | 695.1566
WDC04 | 6 | 635 | 1200 | 609.8755
WDC04 | 7 | 1928 | 2400 | 1022.5739
WDC04 | 8 | 45.0734 | 300 | 45.0734
WDC06 | 1 | 1223.63 | 2000 | 1210.9582
WDC06 | 2 | 1217.23 | 2000 | 1194.5255
WDC06 | 3 | 816.36 | 2000 | 761.0853
WDC07 | 1 | 961.35 | 1800 | 1007.1003
WDC07 | 2 | 423.34 | 900 | 444.4308
WDC07 | 2 | 459.02 | 900 | 447.6734
WDC07 | 3 | 1120.92 | 2000 | 1200.5167
WDC07 | 4 | 1337.5676 | 3000 | 837.4757
WDC07 | 5 | 321.0263 | 900 | 321.0263

## ancillary (hidden)
Data Center | Server Room | Age Code | Geography | Region | Region Type | Age Code | Details |  |  | Group | Type | Sub-Type | Single | 3-Phase | Date | Data Center | Server Room | Row Labels | DC | Geography | Region | Region Type
AMS03 | 1 | 5 | EMEA | SZR | SZR | 0 | Proxy Data (New DC) |  |  | Sellable | Bare Metal | Bare Metal | 5 | 6 | 2025-06-30 | DAL10 | 1 | Bare Metal | AMS01 | EMEA | SZR | SZR
AMS03 | 2 | 7 | EMEA | SZR | SZR | 1 | SL 1.0 - (Dal01) |  |  | Sellable | Bare Metal | COD | 5 | 6 |  |  | 2 |  | AMS03 | EMEA | SZR | SZR
AMS03 | 3 | 7 | EMEA | SZR | SZR | 2 | SL 2.0 - (208/30/Single - 10G Single) |  |  | Sellable | Bare Metal | Microcloud | 5 | 6 |  |  | 3 |  | CHE01 | APAC | SZR | SZR
CHE01 | 1 | 7 | APAC | SZR | SZR | 3 | SL 3.0 - (208/30/Single - 10G Dual) |  |  | Sellable | Bare Metal | Power8 | 5 | 6 |  |  | 4 |  | DAL05 | NASA | SZR | SZR
CHE01 | 2 | 7 | APAC | SZR | SZR | 4 | SL 4.0 - (208/30/Single Quad PSU - 10G Dual |  |  | Sellable | Bare Metal | VDC | 5 | 6 |  |  | 5 |  | DAL06 | NASA | SZR | SZR
CHE02 | 1 | 7 | APAC | CHE MZR | MZR | 5 | SL 5.0 - (208/30/Single ATS - 10G Dual) |  |  | Sellable | Compute | Hybrid | 5 | 10 |  |  | 6 |  | DAL08 | NASA | SZR | SZR
CHE02 | 2 |  | APAC | CHE MZR | MZR | 6 | SL 6.0 - (208/30/3Phase - 10G Dual) |  |  | Sellable | Compute | Local | 5 | 10 |  |  |  |  | DAL09 | NASA | SZR | SZR
CHE02 | 3 |  | APAC | CHE MZR | MZR | 7 | SL 7.0 - (400/30/3Phase - 10G Dual) |  |  | Sellable | PowerVS | PowerVS | 0 | 11.8 |  |  |  |  | DAL10 | NASA | DAL MZR | MZR
DAL08 | 1 | 2 | NASA | SZR | SZR | 8 | SL 8.0 - (400/30/3Phase - 10G Dual) Provider Cap |  |  | Sellable | Compute | SAN | 5 | 10 |  |  |  |  | DAL12 | NASA | DAL MZR | MZR
DAL09 | 1 | 3 | NASA | SZR | SZR |  |  |  |  | Sellable | Compute | vGPU | 5 | 10 |  |  |  |  | DAL13 | NASA | DAL MZR | MZR
DAL09 | 2 | 3 | NASA | SZR | SZR |  |  |  |  | Sellable | Gen1 | Compute | 0 | 10 |  |  |  |  | DAL14 | NASA | DAL MZR | MZR
DAL09 | 3 | 6 | NASA | SZR | SZR | Missing |  |  |  | Sellable | Gen2 | Bare Metal | 0 | 20 |  |  |  |  | FRA02 | EMEA | FRA MZR | MZR
DAL09 | 4 | 6 | NASA | SZR | SZR | DC |  | DC | SR | Sellable | Gen2 | Compute | 0 | 20 |  |  |  |  | FRA04 | EMEA | FRA MZR | MZR
DAL09 | 5 | 6 | NASA | SZR | SZR | #VALUE! |  | #VALUE! |  | Sellable | Gen2 | GPU | 0 | 20 |  |  |  |  | FRA05 | EMEA | FRA MZR | MZR
DAL09 | 6 | 6 | NASA | SZR | SZR |  |  |  |  | Sellable | Gen2 | Acadia | 0 | 15 |  |  |  |  | HKG02 | APAC | SZR | SZR
DAL09 | 7 | 7 | NASA | SZR | SZR |  |  |  |  | Sellable | Gen2 | COS | 0 | 6 |  |  |  |  | LON02 | EMEA | SZR | SZR
DAL09 | 8 | 7 | NASA | SZR | SZR |  |  |  |  | Sellable | Gen2 | File/Block | 0 | 6 |  |  |  |  | LON04 | EMEA | LON MZR | MZR
DAL09 | 9 | 7 | NASA | SZR | SZR |  |  |  |  | Sellable | Gen2 | Zseries | 0 | 10 |  |  |  |  | LON05 | EMEA | LON MZR | MZR
DAL10 | 1 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Network | Ded. Firewall | 5 | 6 |  |  |  |  | LON06 | EMEA | LON MZR | MZR
DAL10 | 2 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Network | Firewall | 5 | 6 |  |  |  |  | MAD02 | EMEA | MAD MZR | MZR
DAL10 | 3 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Network | Load Balancer | 5 | 6 |  |  |  |  | MAD04 | EMEA | MAD MZR | MZR
DAL10 | 4 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Storage | COS | 5 | 6 |  |  |  |  | MAD05 | EMEA | MAD MZR | MZR
DAL10 | 5 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Storage | File/Block | 5 | 6 |  |  |  |  | MEX01 | NASA | SZR | SZR
DAL10 | 6 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Storage | Misc. | 5 | 6 |  |  |  |  | MIL01 | EMEA | SZR | SZR
DAL12 | 1 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Storage | Swift | 5 | 6 |  |  |  |  | MON01 | NASA | SZR | SZR
DAL12 | 2 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Sellable | Unallocated | Unallocated | 0 | 0 |  |  |  |  | OSA21 | APAC | OSA MZR | MZR
DAL12 | 3 | 9 | NASA | DAL MZR | MZR |  |  |  |  | Unsellable | Fabric | DTS | 4.6 | 4.6 |  |  |  |  | OSA22 | APAC | OSA MZR | MZR
DAL13 | 1 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Unsellable | Fabric | Lab | 4.6 | 4.6 |  |  |  |  | OSA23 | APAC | OSA MZR | MZR
DAL13 | 2 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Unsellable | Fabric | Misc. | 4.6 | 4.6 |  |  |  |  | PAR01 | EMEA | SZR | SZR
DAL13 | 3 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Unsellable | Fabric | Server | 4.6 | 4.6 |  |  |  |  | PAR04 | EMEA | PAR MZR | MZR
DAL14 | 1 | 7 | NASA | DAL MZR | MZR |  |  |  |  | Unsellable | Fabric | Unallocated | 4.6 | 4.6 |  |  |  |  | PAR05 | EMEA | PAR MZR | MZR
FRA02 | 1 | 5 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Gen1 | Management | 0 | 15 |  |  |  |  | PAR06 | EMEA | PAR MZR | MZR
FRA02 | 2 | 5 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Gen1 | Network | 0 | 15 |  |  |  |  | SAO01 | NASA | SAO MZR | MZR
FRA02 | 3 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Gen2 | Management | 0 | 15 |  |  |  |  | SAO04 | NASA | SAO MZR | MZR
FRA02 | 4 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Gen2 | Network | 0 | 10 |  |  |  |  | SAO05 | NASA | SAO MZR | MZR
FRA02 | 5 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Aggregate | 5 | 5 |  |  |  |  | SEO01 | APAC | SZR | SZR
FRA02 | 6 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Fiber | 0 | 0 |  |  |  |  | SJC01 | NASA | SZR | SZR
FRA04 | 1 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Lab | 9.1 | 9.1 |  |  |  |  | SJC03 | NASA | SZR | SZR
FRA04 | 2 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Misc. | 9.1 | 9.1 |  |  |  |  | SJC04 | NASA | SZR | SZR
FRA04 | 3 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Network Spares | 0 | 0 |  |  |  |  | SNG01 | APAC | SZR | SZR
FRA04 | 4 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Router | 9.1 | 9.1 |  |  |  |  | SYD01 | APAC | SYD MZR | MZR
FRA05 | 1 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Unsellable | Network | Unallocated | 9.1 | 9.1 |  |  |  |  | SYD04 | APAC | SYD MZR | MZR
FRA05 | 2 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Sellable | NG Fed | Compute | 0 | 20 |  |  |  |  | SYD05 | APAC | SYD MZR | MZR
FRA05 | 3 | 7 | EMEA | FRA MZR | MZR |  |  |  |  | Sellable | NG Fed | Acadia | 0 | 15 |  |  |  |  | TOK02 | APAC | TOK MZR | MZR
FRA05 | 4 |  | EMEA | FRA MZR | MZR |  |  |  |  | Sellable | NG Fed | Z Mainframe | 0 | 10 |  |  |  |  | TOK04 | APAC | TOK MZR | MZR
FRA05 | 5 |  | EMEA | FRA MZR | MZR |  |  |  |  | Sellable | NG Fed | COS | 0 | 6 |  |  |  |  | TOK05 | APAC | TOK MZR | MZR
LON02 | 1 | 3 | EMEA | SZR | SZR |  |  |  |  | Sellable | NG Fed | File/Block | 0 | 6 |  |  |  |  | TOR01 | NASA | TOR MZR | MZR
LON02 | 3 | 7 | EMEA | SZR | SZR |  |  |  |  | Unsellable | NG Fed | Management | 0 | 15 |  |  |  |  | TOR04 | NASA | TOR MZR | MZR
LON02 | 4 | 7 | EMEA | SZR | SZR |  |  |  |  | Unsellable | NG Fed | Network | 0 | 10 |  |  |  |  | TOR05 | NASA | TOR MZR | MZR
LON04 | 1 | 7 | EMEA | LON MZR | MZR | [13 empty] | WDC01 | NASA | SZR | SZR
LON04 | 2 | 7 | EMEA | LON MZR | MZR | [13 empty] | WDC03 | NASA | SZR | SZR
LON04 | 3 | 7 | EMEA | LON MZR | MZR | [13 empty] | WDC04 | NASA | WDC MZR | MZR
LON04 | 4 | 7 | EMEA | LON MZR | MZR | [13 empty] | WDC06 | NASA | WDC MZR | MZR
LON04 | 5 | 7 | EMEA | LON MZR | MZR | [13 empty] | WDC07 | NASA | WDC MZR | MZR
LON04 | 6 | 7 | EMEA | LON MZR | MZR | [13 empty] | MON04 | NASA | MON MZR | MZR
LON04 | 7 | 7 | EMEA | LON MZR | MZR | [13 empty] | CHE02 | APAC | CHE MZR | MZR
LON05 | 1 | 7 | EMEA | LON MZR | MZR | [13 empty] | MUM02 | APAC | MUM MZR | MZR
LON05 | 2 | 7 | EMEA | LON MZR | MZR | [13 empty] | MUM02 | APAC | MUM MZR | MZR
LON05 | 3 | 7 | EMEA | LON MZR | MZR | [13 empty] | MUM03 | APAC | MUM MZR | MZR
LON06 | 1 | 7 | EMEA | LON MZR | MZR
LON06 | 2 | 7 | EMEA | LON MZR | MZR
LON06 | 3 | 7 | EMEA | LON MZR | MZR
MAD02 | 1 | 7 | EMEA | MAD MZR | MZR
MAD04 | 1 | 7 | EMEA | MAD MZR | MZR
MAD04 | 2 | 7 | EMEA | MAD MZR | MZR
MAD05 | 1 | 7 | EMEA | MAD MZR | MZR
MIL01 | 1 | 3 | EMEA | SZR | SZR
MIL01 | 2 | 4 | EMEA | SZR | SZR
MON01 | 1 | 5 | NASA | SZR | SZR
MON01 | 2 | 6 | NASA | SZR | SZR
MON04 | 1 | 9 | NASA | MON MZR | MZR
MON04 | 2 | 9 | NASA | MON MZR | MZR
MON04 | 3 | 7 | NASA | MON MZR | MZR
MUM02 | 1 |  | APAC | MUM MZR | MZR
MUM02 | 2 |  | APAC | MUM MZR | MZR
MUM03 | 1 |  | APAC | MUM MZR | MZR
OSA21 | 1 | 7 | APAC | OSA MZR | MZR
OSA22 | 2 | 7 | APAC | OSA MZR | MZR
OSA23 | 1 | 7 | APAC | OSA MZR | MZR
PAR01 | 1 | 3 | EMEA | SZR | SZR
PAR04 | 1 | 7 | EMEA | PAR MZR | MZR
PAR04 | 2 | 7 | EMEA | PAR MZR | MZR
PAR05 | 1 | 7 | EMEA | PAR MZR | MZR
PAR06 | 1 | 7 | EMEA | PAR MZR | MZR
SAO01 | 1 | 6 | NASA | SAO MZR | MZR
SAO01 | 2 | 7 | NASA | SAO MZR | MZR
SAO04 | 1 | 7 | NASA | SAO MZR | MZR
SAO05 | 1 | 7 | NASA | SAO MZR | MZR
SJC03 | 1 | 6 | NASA | SZR | SZR
SJC04 | 1 | 7 | NASA | SZR | SZR
SNG01 | 1 | 2 | APAC | SZR | SZR
SNG01 | 2 | 3 | APAC | SZR | SZR
SNG01 | 3 | 2 | APAC | SZR | SZR
SNG01 | 4 | 2 | APAC | SZR | SZR
SYD01 | 1 | 5 | APAC | SYD MZR | MZR
SYD01 | 2 | 5 | APAC | SYD MZR | MZR
SYD01 | 3 | 6 | APAC | SYD MZR | MZR
SYD01 | 4 | 6 | APAC | SYD MZR | MZR
SYD04 | 1 | 6 | APAC | SYD MZR | MZR
SYD04 | 2 | 6 | APAC | SYD MZR | MZR
SYD05 | 1 | 7 | APAC | SYD MZR | MZR
TOK02 | 1 | 3 | APAC | TOK MZR | MZR
TOK02 | 2 | 3 | APAC | TOK MZR | MZR
TOK02 | 3 | 6 | APAC | TOK MZR | MZR
TOK02 | 4 | 6 | APAC | TOK MZR | MZR
TOK02 | 5 | 7 | APAC | TOK MZR | MZR
TOK04 | 1 | 7 | APAC | TOK MZR | MZR
TOK04 | 2 | 7 | APAC | TOK MZR | MZR
TOK04 | 3 | 7 | APAC | TOK MZR | MZR
TOK05 | 1 | 7 | APAC | TOK MZR | MZR
TOK05 | 2 | 7 | APAC | TOK MZR | MZR
TOK05 | 3 | 7 | APAC | TOK MZR | MZR
TOR01 | 1 | 3 | NASA | TOR MZR | MZR
TOR01 | 2 | 6 | NASA | TOR MZR | MZR
TOR01 | 3 | 7 | NASA | TOR MZR | MZR
TOR04 | 1 | 7 | NASA | TOR MZR | MZR
TOR04 | 2 | 8 | NASA | TOR MZR | MZR
TOR05 | 1 | 7 | NASA | TOR MZR | MZR
TOR05 | 2 | 8 | NASA | TOR MZR | MZR
WDC01 | 2 |  | NASA | SZR | SZR
WDC01 | 3 |  | NASA | SZR | SZR
WDC03 | 1 | 2 | NASA | SZR | SZR
WDC04 | 1 | 6 | NASA | WDC MZR | MZR
WDC04 | 2 | 6 | NASA | WDC MZR | MZR
WDC04 | 3 | 7 | NASA | WDC MZR | MZR
WDC04 | 4 | 7 | NASA | WDC MZR | MZR
WDC04 | 5 | 7 | NASA | WDC MZR | MZR
WDC04 | 6 | 7 | NASA | WDC MZR | MZR
WDC04 | 7 | 7 | NASA | WDC MZR | MZR
WDC04 | 8 | 9 | NASA | WDC MZR | MZR
WDC06 | 1 | 7 | NASA | WDC MZR | MZR
WDC06 | 2 | 7 | NASA | WDC MZR | MZR
WDC06 | 3 | 7 | NASA | WDC MZR | MZR
WDC07 | 1 | 7 | NASA | WDC MZR | MZR
WDC07 | 2 | 7 | NASA | WDC MZR | MZR
WDC07 | 3 | 7 | NASA | WDC MZR | MZR
WDC07 | 4 | 7 | NASA | WDC MZR | MZR
WDC07 | 5 | 8 | NASA | WDC MZR | MZR

## file_path (hidden)
File | File Path
Current File Path | C:\Users\4G5597897\Box\IBM Cloud Capacity\Reports\- Monthly Reports\
Capacity Summary Report | C:\Users\4G5597897\Box\IBM Cloud Capacity\
EOM Reports | C:\Users\4G5597897\Box\IBM Cloud Capacity\Capacity Report Archives\
CAUA - EOM Reports | C:\Users\4G5597897\Box\IBM Cloud Capacity\Reports\- Monthly Reports\Capacity Availability and Utilization Analysis - Archive\